Comparation Bed Tests

Bed_near: 1-14Hz, N=6

Bed_near: 1-14Hz, N=8

Bed_near: 2-14Hz, N=8

Bed_near: 2-14Hz, N=6

Bed_near: 1-9Hz, N=6

Bed_near: 1-9Hz, N=8

Bed_under: 1-9Hz, N=6

Bed_under: 1-9Hz, N=8

Bed_under: 0.8-35Hz, N=6

Bed_under: 0.8-35Hz, N=8

Mattress_1: 1-15 Hz, N=4

Spectral power

Ratio Calculation BioPlux:

Ratio X-axis: 0.58762

Ratio Y-axis: 0.3219

Ratio Z-axis: 0.21307

Ratio of the module: 0.034388

Ratio Calculation Mobile Phone:

Ratio X-axis: 0.037537

Ratio Y-axis: 0.038913

Ratio Z-axis: 0.051289

Ratio of the module: 0.007267

Mattress_2: 1-15 Hz, N=4

(poor ECG representation due to movement)

Ratio Calculation BioPlux:

Ratio X-axis: 0.046074

Ratio Y-axis: 0.055221

Ratio Z-axis: 0.053703

Ratio of the module: 0.030794

Ratio Calculation Mobile Phone:

Ratio X-axis: 0.042728

Ratio Y-axis: 0.035681

Ratio Z-axis: 0.062996

Ratio of the module: 0.0080925